## Slide 1: Classification of impression materials
Dr. Kavita Gupta

## Slide 2: Aim
What is impression?
How to classify impression materials?

## Slide 3: Impression
A dental impression can be defined a negative likeness or copy in reverse of the surface of an object ; an imprint of the teeth and adjacent structures used in dentistry. ---GPT
Impression material can be defined as any substance or combination of substances used for making impression or negative reproduction.
---GPT

## Slide 4: Purpose
To prepare accurate and true replicas of oral structures (teeth, mucosa)
The replica is prepared in 2 steps:
Step 1. Making a negative (impression)
Step 2. Prepare a model or a cast -accurate positive

## Slide 5
IDEAL REQUIREMENTS OF IMPRESSION MATERIALS
They should be fluid enough to adapt to the oral cavity and viscous enough to be contained in a tray.
While in mouth they should set into rubbery or solid state in a reasonable amount of time; total setting time should be less than 7 mins.
Set impression should not distort or tear when removed from mouth.
Impression made should remain dimensionally stable, at least until cast is poured.
Impression should maintain its dimensional stability after removal of cast so that second or third impression can be made.

## Slide 6
They should be biocompatible
Associated processing , equipment & processing time should be cost effective.
Setting characteristics should meet clinical requirements.
Readily wet oral tissue.
Compatibility with cast material.
Can be readily disinfected with out loss of accuracy.
No release of gases during setting of impression or cast.

## Slide 7: Classification of impression materials
On the basis of elasticity
Inelastic/Rigid
impression material
Impression plaster
Impression compound
Zinc oxide eugenol
impression paste
Corrective impression wax
Elastic impression
Materials
Alginate hydrocolloid
Non aqueous elastomers
- Polysulfide
- Polyether
- Condensation silicone
- Addition silicone
Agar hydrocolloid

## Slide 8
on the basis of setting mechanism
Chemical reaction
(irreversible)
Impression plaster
Zinc oxide eugenol
impression paste
Alginate hydrocolloid
Non aqueous elastomers
- polysulfide
- polyether
- condensation silicone
- Addition silicone
Thermally induced
(reversible)
Impression compound
Agar hydrocolloid
Corrective impression wax

## Slide 9
On the basis of their use in dentistry
Impression materials used
for complete dentures
Impression plaster
Impression compound
Zinc oxide eugenol
impression paste
Corrective impression wax
Impression used for
Dentulous mouths
Alginate hydrocolloid
Nonaqueous elastomers
Agar hydrocolloid

## Slide 10
Classification on the basis of
Impression technique
Mucocompressive
Impression compound
Impression wax
Non aqueous elastomeric
Impression materials
-Putty consistency
Mucostatic
Impression plaster
Alginate
Agar
Zinc oxide eugenol impression
paste.
Non aqueous elatomeric
impression materials
-light and medium
body

## Slide 11
Thank you