## Slide 1: Casts, slab, splints, traction
DEPT OF ORTHOPAEDICS, DHIRAJ HOSPITAL
SBKS MIRC SUMANDEEP VIDYAPEETH

## Slide 2: ACKNOWLEDGMENTS
SINGAPORE GENERAL HOSPITAL, SINGAPORE
SANCHETI HOSPITALS, PUNE, MAHARASHTRA
DR PREMAL NAIK, PEDIATRIC ORTHOPAEDIC SURGEON, AHMEDABAD

## Slide 3: PLASTER TECHNIQUES

## Slide 4: PLASTER OF PARIS
FORMULA
The POP bandage consists of a roll of muslin stiffened by dextrose or starch and impregnated with the hemihydrate of calcium sulfate.
When water is added, the calcium sulfate takes up its water of crystallization:
Gypsum + heat=> Plaster of Paris + steam
2CaSO4·2H2O + heat=> 2CaSO4·½H2O + 3H2O

## Slide 5
Setting time: time taken to change from powder form to crystalline form.
Average setting time: 3-9 minutes
Factors decreasing setting time:
1) Hot water
2) Salt 3) Borax
4) Resin
Factors increasing setting time:
1)Cold water
2)sugar

## Slide 6: RULES FOR APPLICATION OF POP
  Padding: This is placed from distal to proximal with a 50% overlap, a minimum two layers, and extra padding at bony prominence like fibular head, malleoli, patella, and olecranon.
  Plaster: Cold water will maximize the molding time.
    8 inch width for thigh
    6 inch width for leg
    4 inch width for arm and forearm

## Slide 7
One joint above and one joint below.
Mould with palm and not with fingers to avoid indentation.
Joints should be immobilized in functional position.
Not too tight or too loose i.e. adequate padding
Dip pop vertically in water till air bubble ceases to come
Uniform thickness of plaster is preferred.

## Slide 8: TRIPLE SEQUENCE IN PLASTER TECHNIQUE
Phase 1: examination and rehearsal
Phase 2: plastering
Phase 3: reduction and holding

## Slide 9: Examination and rehearsal
Examination of the displacement and assessment of the forces required to reduce and hold the reduction.
Need to assess
    Effect of gravity on the displacement
    Amount of force needed to correct the displacement
    Range of excursion from the position of greatest deformity to the position of apparent reduction

## Slide 10: Plastering
Limb held by assistant in position of approximate reduction
Surgeon himself should apply
Quick application more important than holding precise reduction
Plaster should still be completely soft after application to allow final touches

## Slide 11: Reduction and holding
After applying sufficient plaster, surgeon prepares to apply the rehearsed movement of reduction.
Should be able to clearly recognise sensation of reduction.
After applying rehearsed reduction, surgeon holds on, without further movement to allow the cast to set.
In the last few minutes, he should obliterate any abrupt impression that might invite pressure sore.

## Slide 12: PLASTER TECHNIQUES
Plaster casts can be divided into 3 types:
Badly padded plaster
Unpadded plaster
Padded plaster

## Slide 13: Badly padded plaster
It is loose on the limb and therefore cannot fix the fragments.
No padding is done in the bony prominences
Unpadded Plaster
Made by applying the turns of wet bandage directly to the skin without using any textile. (used by Böhler)
For practical purposes, if stockinette is used the resulting plaster can still be regarded as an unpadded cast.

## Slide 14
The closeness of its application to the limb and actual adhesion to the skin, is believed to enhance fixation of a fracture.
Considerably easier to learn than padded plaster technique.
Bandage should never be pulled tight .
Bandage should be made to roll itself round the limb.
Should be applied by laying the wet roll of plaster on the skin and pushing it round the curves of limb with flat of hand.
The roll of plaster should not be lifted off the limb and pulled.
Recommended in 3 condition by Sir John Charnley:
1) Colles’ fracture
2) Scaphoid fracture
3) Bennett’s fracture

## Slide 15: Padded plaster cast
A layer of cotton-wool is interposed between the skin and plaster,
The elastic pressure of the cotton enhances the fixation of limb by compensating for shrinkage in tissues .
The care with which cotton is applied is essential for success.
The cotton if not rolled already, should be carefully prepared in rolls before application. The roll of bandage remains in contact with surface of limb almost continuously.
Pressure is applied at the middle of width of bandage so that no excess of pressure can fall on either edge .

## Slide 16
Each turn is applied slowly and is settled carefully in position.
At tapering parts of the limb, the turns are made to lie evenly by small tucks which are made with quick movement of index finger of left hand.
The durability of the cast depend on welding together of individual turns by smoothing movements of left hand.
Each layer must be applied with equal deliberation
The hall-mark of good plaster is that it should be of even thickness from end to end.
Never apply two turns in the same place except at the ends.
Have a progressive ‘backward and forward rhythm’ from top to bottom.

## Slide 17: POP … various forms
Slab: only a part of circumference of limb is incorporated.
Cast: encircle whole circumference of the limb.
Spica
Brace

## Slide 18: SLAB
Slab: only a part of circumference of limb is incorporated.
UPPER EXTREMITY
LOWER EXATREMITY
Below elbow
Above elbow
U-slab\ Coaptation splint
Sugar tong
Gutter splint
Below knee
Above knee
Cylindrical

## Slide 19
UPPER EXTREMITY
Used in
Colles fracture (above elbow in supination)
Smiths fracture (above elbow in supination)
Bartons fracture (above elbow in supination)
Fracture of metacarpals (Ball bandage)
Wrist drop (cock up slab)
Fracture of mid-shaft humerus(U – slab)
Fracture of both bone of forearm(above elbow in mid prone)

## Slide 20: LOWER EXTREMITY
Undisplaced Patella fracture(Cylindrical slab)
Tibia plateau fractures (Above knee slab)
Undisplaced tibia shaft fractures (Above knee slab)
Ankle fractures\Foot injuries(Below knee slab)
Bimalleolar
Trimalleolar
Fracture calcaneum
Fracture metatarsals
Fracture toes

## Slide 21: Sugar Tong Splint
Splint extends around the distal humerus to provide rotational control
Padding should be at least 3 - 4 layers thick with several extra layers at the elbow
COCK UP SLAB
In this type of slab the wrist is kept in extension and the slab is applied on the volar aspect of the forearm
Usually used in wrist drop (Radial nerve palsy)

## Slide 22: U-SLAB \ COAPTATION SPLINT
This type of splint is usually used in mid shaft humerus fractures
For the temporary relief
BALL BANDAGE
This type of bandage is used in fractures of metacarpals.
In this first the cock up slab is applied.
After that the ball made of pad is placed in the palm and after giving traction bandage is applied on it.

## Slide 23: CASTING
Cast: encircle whole circumference of the limb
Goal of semi-rigid immobilization while avoiding pressure / skin complications
Often a poor choice in the treatment of acute fractures due to swelling and soft tissue complications
Good cast technique necessary to achieve predictable results

## Slide 24: Casting Techniques
Stockinette - may require two different diameters to avoid overtight or loose material
Caution not to lift leg by stockinette – stretching the stockinette too tight around the heel may case high skin pressure
To avoid wrinkles in the stockinette, cut along the concave surface and overlap to produce a smooth contour

## Slide 25: Forearm Casts & Splints
MCP joints should be free
  Do not go past proximal palmar crease
Thumb should be free to base of MC
  Opposition of thumb to little finger should be unobstructed

## Slide 26: Below Knee Cast
Support metatarsal heads
Ankle in neutral – flex knee to relax gastroc
Ensure freedom of toes
Build up heel for walking casts - fiberglass much preferred for durability

## Slide 27
Padding for fibular head and plantar aspect of foot

## Slide 28
Padded fibular
head
Flexed knee
Neutral ankle
position
Toes free
Assistant or foot stand required to maintain ankle position
Notes: Figure from:Figure from: Browner and Jupiter: Skeletal Trauma, 2nd ed, Saunders, p 2221 1998.

## Slide 29: Short Leg Cast
When working alone, the patient can help maintain proper ankle position by holding onto a muslin bandage placed beneath the toes
Figure from Chapman’s Orthopaedic Surgery 3rd Ed.

## Slide 30: Above Knee Cast
Apply below knee first (thin layer proximally)
Flex knee 5 - 20 degrees
Mould supra-condylar femur for improved rotational stability
Apply extra padding anterior to patella

## Slide 31
Anterior padding
Support lower
leg / cast
Extend to
gluteal crease
Figure from: Browner and Jupiter: Skeletal Trauma, 2nd ed, Saunders, 1998.
Notes: Figure from:Figure from: Browner and Jupiter: Skeletal Trauma, 2nd ed, Saunders, p 2221, 1998.

## Slide 32
Avoid molding with anything but the heels of the palm in order to avoid pressure points
Mold applied to produce three point fixation
Cast Molding

## Slide 33
SPICA
Encircles one or both arms or legs and the chest or trunk
Uses- Fractures shaft of femur in children and in young adults
It generally is strengthened with a reinforcement bar

## Slide 34: Windowed Plasters
Not usually encouraged
Danger of edematous tissue herniating through the window
Indicated in-
Compound fractures discharging copious pus
Compound fractures grafted with pinch graft

## Slide 35: Errors in applying Padded Plasters
Attempting to plaster at the same time as attempting to hold a precise reduction.
Applying wool carelessly in shapeless lumps
Loose bandaging
Failing to recognise sensation of reduction through the plaster

## Slide 36: After care of POP
Instructions to be given after applying POP:
Come immediately if any of following symptoms develops:
A) Exessive pain,
B) Exessive swelling,
C) Bluish or white discolouration of fingers or toes
2. Keep the plaster cast dry.
3. Mobilize all the joints which are not incorporated in the plaster to their full range of motion once plaster becomes dry.
4. Notice any cracks in the plaster.
5. Graduated weight bearing for lower limb fractures.
6. Physiotherapy of muscles within the plaster and joints outside the plaster is necessary to ensure early rehabilitation.

## Slide 37: Advantages
Cost-effective
Non-allergic
Easily moulded to different forms
Disadvantages:
1) Radio-opaque so may occlude # lines
2) Heavy
3) Easily breaks when comes in contact with water

## Slide 38: Complications of Casts & Splints
Loss of reduction
Pressure necrosis – may occur as early as 2 hours
Tight cast  compartment syndrome Univalving = 30% pressure drop Bivalving = 60% pressure drop
Also need to cut cast padding
Thermal Injury - avoid plaster > 10 ply, water >24°C, unusual with fiberglass
Cuts and burns during removal
Notes: Loss of reduction is the most common complication of cast treatment as the swelling decreases and the padding compresses while the patient regains mobility. Careful casting technique can avoid this (careful molding, attention to detail—deforming forces:gravity and muscle). Appropriately time radiographic reevaluation and correction of problems will lead to a satisfactory outcome.

## Slide 39: Complications of Casts & Splints
DVT - increased in lower extremity fracture
  Ask about prior history and family history
  Birth Control Pills are a risk factor
  Indications for prophylaxis controversial in patients without risk factors
Joint stiffness
  Leave joints free when possible (ie. thumb MCP for below elbow cast)
  Place joint in position of function

## Slide 40: Complications of POP
Due to tight cast
-pain
-pressure sores
-compartment syndromes
-peripheral nerve injuries
c/o unrelenting pain,stretch pain, swelling over fingers, inability to move fingers, hypoaesthesia and bluish discolouration of the digits.

## Slide 41: Complications of POP
Due to improper applications
-joint stiffness
-plaster blisters and sores
-breakage
Due to plaster allergy
-allergic dermatitis

## Slide 42: Plaster vs. Fiberglass
Plaster
  Use cold water to maximize molding time
Fiberglass
  More difficult to mold but more durable and resistant to breakdown
  Generally 2 - 3 times stronger for any given thickness

## Slide 43: Not to forget!!!
Check X Ray should be done after application of each cast to confirm the acceptability of reduction.

## Slide 44: U.L. IMMOBILISATION
SIMPLE SLING : CUFF & COLLAR
SPLINTS : RIGID , SEMI-RIGID WITH ADEQUATE PADDING OF BONY PROMINENCES & BANDAGING
WOODEN , THERMOPLASTIC , FOOT-RULERS , BALL & BANDAGE , TIN SPLINTS,POP SLABS , THOMAS SPLINT.
FLEX ELBOW BEYOND 90 DEG.
ICE FOMENTATION

## Slide 45: UPPER LIMBS
REMOVE RINGS , BANGLES , BRACELETS
ELEVATE IN A SLING.
FOMENT WITH ICE.
DON’T MASSAGE!!!
DON’T MANIPULATE!

## Slide 46
WRONG
RIGHT

## Slide 47
RULER SPLINTS FOR U.L.

## Slide 48
BALL - BANDAGE

## Slide 49
A BALL
BANDAGE
FOR
FINGER INJURIES

## Slide 50
STRAPPING
THE ARM
TO THE
CHEST

## Slide 51: Application of Collar & Cuff

## Slide 52: Indication
Dislocation of shoulder joint
Fracture Humerus

## Slide 53: Requisites Collar & Cuff

## Slide 54
Cable Tie
Padded Sling Material
Scissors

## Slide 55
Step 1
Position the arm at least 45 °

## Slide 56
Step 2
Measure the appropriate length of sling for the patient according to size
Around the wrist with 2 fingers spacing
Over the neck

## Slide 57
Step 3
Put the sling over the wrist to form the shape of a neck tie

## Slide 58
Step 4
Loop the cable tie around the neck tie
Ensure the cable tie joint faces inwards

## Slide 59
Step 5
Pull the cable tie tight enough to allow some adjustments to be made

## Slide 60
Step 6
Cut the balance of the cable tie

## Slide 61
Finish look after cutting cable tie

## Slide 62
Step 7
Give an allowance for adjustment of sling height before cutting remainder of sling material

## Slide 63
Finish look after cutting remainder sling material
Material has to be facing outwards

## Slide 64
Step 8
Loop the arm sling remainder in an anti-clockwise direction facing the patient

## Slide 65
Step 9
Slot in the remainder of looped sling into the cable tie at the back

## Slide 66
Finished look of Applying Collar & Cuff

## Slide 67: Application of Zimmer Splint/ Buddy Splint to Digits of Upper Limb

## Slide 68: Indication
Fracture of phalanx of hands
Support a mallet finger
Support finger due to cut tendon

## Slide 69: Requisites

## Slide 70
Scissors
Zimmer Splint
Crepe Bandage
Micropore Tape
Gauze
Rinlkilastic Tape

## Slide 71
Step 1
Identify injured finger for splinting
Buddy Splint Application

## Slide 72: i8
Apply folded gauze in between the identified finger and the finger beside it
Why?
This prevents friction between them

## Slide 73
Use micropore to tape around the two fingers

## Slide 74
Fold the edge of the tape to allow easy removal tape afterwards

## Slide 75
Repeat the steps to tape the inner aspect of the finger again for more stability

## Slide 76
Repeat the steps to tape the inner aspect of the finger again for more stability
Ensure the tape applied is not too tight to prevent constriction of fingers

## Slide 77
Finished look after taping

## Slide 78
Using 2-inch crepe bandage, bandage the 2 fingers together in a clockwise direction 2 rounds

## Slide 79
Then cross diagonally to the back of the palm for another 2 rounds

## Slide 80
Loop another 2 rounds around the fingers again for more support

## Slide 81
The crepe should cross diagonally to the inner aspect of palm and the loop around the wrist 2 rounds

## Slide 82
The bandaging should end around the wrist
Fold the edge of the bandage before taping to have a neat look

## Slide 83
Tape the folded edge of the crepe bandage around the wrist

## Slide 84
Finished Look

## Slide 85: Buddy Splint of Lower Limb

## Slide 86
Identify the injured toe

## Slide 87
Place the folded gauze in between the identified toe and the toe beside it

## Slide 88
Use the Rinkilastic bandage around the 2 toes

## Slide 89
Loop the bandage in a clockwise direction 2 rounds

## Slide 90
Similar to the upper limb, cross the bandage diagonally to the area below the toes
Ensure the bandaging is not too tight to prevent constriction and over extension of toes

## Slide 91
Then loop the bandage around the foot and diagonally back to the toes

## Slide 92
Finished Look

## Slide 93
Application of Zimmer Splint

## Slide 109: DANGER SIGNALS
GROSS DEFORMITY
ABSENT PULSATIONS
COLD LIMB , CYANOSIS AT FINGER NAILS
ABSENT MOVEMENTS / SENSATIONS.
COMPOUND FRACTURES , CRUSHED EXTREMITY , TRAUMATIC AMPUTATIONS

## Slide 110: L.L. IMMOBILISATION
THOMAS SPLINT WITH / WITHOUT TRACTION.
WOODEN PLANKS , POP SLABS , KRAMER WIRE SPLINTS.
PILLOWS , SHEETS UNDER THE KNEE.
ALWAYS KEEP THE PATIENT SUPINE WITH EXREMITY ELEVATED
DONOT ASK TO BEAR WT.

## Slide 111
LOWER LIMB IMMOBILISATION

## Slide 112
PILLOWS UNDER THE KNEE & BANDAGE

## Slide 113
DON’T FORGET ELEVATION!!!

## Slide 114
THOMAS SPLINT

## Slide 115
THE THOMAS SPLINT

## Slide 118
SPINE BOARD

## Slide 119: Statue of Liberty Splint

## Slide 120: MCQ 1
Plaster of Paris is made up of
Borax
Resin
Calcium sulfate
Calcium carbonate

## Slide 121: MCQ 2
What is the name of the splint on the palm?
Thomas splint
Bohler braun splint
Zimmer splint
Ilizarov

## Slide 122: MCQ 3
What is the name of the splint?
Thomas splint
Bohler braun splint
Zimmer splint
Ilizarov

## Slide 123: MCQ 4
Plaster and splints help in:
Reduce swelling
Immobilisation
Decrease pain
All of the above

## Slide 124: MCQ 5
Plaster cast should be removed when
Cyanosed fingers
Pink fingers
Warm fingers
None of the above

## Slide 125
THANK YOU